**STEINEL Professional System components**

**ALC100 KNX-S**

Dimensions (L x W x H): 90 x 18 x 58 mm; PU1, EAN: 4007841085643; Colour: grey; IP-rating: IP20; Protection class: III; Ambient temperature: -5 – 45 °C; Power supply, detail: KNX bus; With bus coupling: Yes; Rated current: 9 mA

**Manufacturer** Steinel

**Prod. No.** 085643

**Ordering designation** ALC100 KNX-S

Deliver, install and set ready for operation