**STEINEL Professional System components**

**P640 KNX**

Dimensions (L x W x H): 90 x 72 x 58 mm; PU1, EAN: 4007841084882; Colour: grey; IP-rating: IP20; Protection class: III; Ambient temperature: -5 – 45 °C; Material: Plastic; Mains power supply: 200 – 240 V / 50 – 60 Hz; Power consumption: 2,9 W; Interconnection via: KNX bus; Rated current: 640 mA

**Manufacturer** Steinel

**Prod. No.** 084882

**Ordering designation** P640 KNX

Deliver, install and set ready for operation